## Unit Price Schedule
UNIT PRICE SCHEDULE — ELECTRICAL MATERIALS
Fill in the yellow cells. The Amount column calculates itself. Unit prices are entered EXCLUDING VAT or sales tax; the rate is shown on a separate line below. State the currency and the delivery term (Incoterms) above.
Buyer / company
Subject | Purchase of Electrical Materials
Currency
Delivery term (Incoterms 2020)
Quotation date
Quotation valid for (days)
No | Item | Technical properties | Unit | Quantity | Unit price (excl. tax) | Amount
1 | Single-core PVC cable, 1.5 mm² | H07V-U/R, conductor class and colour stated | Metre
2 | Single-core PVC cable, 2.5 mm² | H07V-U/R, conductor class and colour stated | Metre
3 | Flexible single-core cable, 4 mm² | H07V-K, fine-stranded conductor | Metre
4 | PVC power cable, 4 × 6 mm² | Multi-core, unarmoured, rated voltage stated | Metre
5 | Halogen-free cable, 3 × 2.5 mm² | Low smoke zero halogen, for escape routes | Metre
6 | Miniature circuit breaker, 1 pole | Rated current, tripping curve and breaking capacity stated | Each
7 | Miniature circuit breaker, 3 pole | Rated current, tripping curve and breaking capacity stated | Each
8 | Residual current device, 2 pole | Rated residual current and type (AC, A, B) stated | Each
9 | Residual current device, 4 pole | Rated residual current and type (AC, A, B) stated | Each
10 | Moulded case circuit breaker | Thermal-magnetic, rated current and breaking capacity stated | Each
11 | Contactor | Rated operational current, coil voltage and auxiliary contacts | Each
12 | Thermal overload relay | Setting range in A; matched to contactor | Each
13 | Timer relay | Function (on-delay, star-delta), range and supply voltage | Each
14 | Phase failure relay | Phase loss, sequence and asymmetry protection | Each
15 | Surge protective device | Type (1, 2, 3), discharge current and protection level stated | Each
16 | Terminal block, DIN rail | Cross-section range and connection type stated | Each
17 | Terminal partition and end plate | Matched to terminal block series | Each
18 | DIN rail | 35 mm profile; length and material stated | Each
19 | Wiring duct, panel | Width × height in mm and slot pitch stated | Each
20 | Spiral cable wrap | Bundle diameter range stated | Each
21 | Cable lug, crimp | Conductor cross-section and stud hole size stated | Each
22 | Wire end ferrule | Cross-section and length stated; insulated option | Pack
23 | Cable tie | Length, width and tensile strength stated | Pack
24 | Insulating tape | Width, length and temperature rating stated | Each
25 | Junction box | IP rating, dimensions and entry count stated | Each
26 | Enclosure, sheet steel | Dimensions, IP rating and mounting plate stated | Each
27 | Socket outlet, earthed, surface mounted | IP rating and gang count stated | Each
28 | Two-way switch | Rated current and mounting type stated | Each
29 | Industrial plug and socket set | Pole count, rated current and IP rating stated | Set
30 | Extension cable reel | Cable length, cross-section, socket count and thermal cut-out | Each
31 | LED panel luminaire | Size, luminous flux, efficacy and colour temperature stated | Each
32 | LED linear luminaire | Length, luminous flux and mounting type stated | Each
33 | LED weatherproof luminaire | IP rating, length and luminous flux stated | Each
34 | LED high bay luminaire | Luminous flux, beam angle and mounting height stated | Each
35 | LED floodlight | Luminous flux, beam angle and IP rating stated | Each
36 | LED lamp, E27 | Luminous flux, colour temperature and dimmable option | Each
37 | Emergency lighting luminaire | Duration, maintained or non-maintained, self-test option | Each
38 | Emergency exit sign luminaire | Viewing distance, duration and pictogram stated | Each
39 | PIR occupancy switch | Detection angle, range and time delay stated | Each
40 | Electronic meter or power analyser | Measured parameters and communication protocol stated | Each
41 | Current transformer | Ratio, class and burden stated | Each
42 | Power factor correction capacitor, low voltage | Three-phase, self-healing, with discharge resistors, EN 60831-1; rated output (kvar) and rated voltage stated together on each line | Each
43 | Capacitor switching contactor | With pre-charge (damping) resistors, utilisation category AC-6b, EN 60947-4-1; capacitor output (kvar) stated | Each
44 | Power factor controller | Number of steps stated; displays inductive and capacitive ratio separately, adjustable switching delays | Each
45 | Shunt reactor, low voltage | Three-phase, to offset capacitive reactive power, EN 60076-6; rated output (kvar) stated | Each
46 | Detuning reactor for capacitor steps | Three-phase, EN 60076-6; detuning factor (e.g. 5.67%, 7% or 14%) and matching capacitor output and rated voltage stated | Each
47 | Panel indicator lamp | Diameter, voltage and colour stated | Each
48 | Emergency stop button | Mushroom head, latching, contact configuration stated | Each
SUBTOTAL (excl. tax)
VAT / sales tax rate (%)
Tax amount
TOTAL (incl. tax)
Bidding company
Authorised name / title
Stamp / signature
Template: AKSCO Ticaret ve Tedarik · https://aksco.com.tr · 0534 335 69 22 · Version 2026-09-25 · Free, no sign-up required

## Item Pool
ELECTRICAL MATERIALS — ITEM POOL
Brand-free technical property text you can copy into your own specification. Change the values and tolerances to suit your requirement.
Item | Technical properties | Unit
Single-core PVC cable, 1.5 mm² | H07V-U/R, conductor class and colour stated | Metre
Single-core PVC cable, 2.5 mm² | H07V-U/R, conductor class and colour stated | Metre
Flexible single-core cable, 4 mm² | H07V-K, fine-stranded conductor | Metre
PVC power cable, 4 × 6 mm² | Multi-core, unarmoured, rated voltage stated | Metre
Halogen-free cable, 3 × 2.5 mm² | Low smoke zero halogen, for escape routes | Metre
Miniature circuit breaker, 1 pole | Rated current, tripping curve and breaking capacity stated | Each
Miniature circuit breaker, 3 pole | Rated current, tripping curve and breaking capacity stated | Each
Residual current device, 2 pole | Rated residual current and type (AC, A, B) stated | Each
Residual current device, 4 pole | Rated residual current and type (AC, A, B) stated | Each
Moulded case circuit breaker | Thermal-magnetic, rated current and breaking capacity stated | Each
Contactor | Rated operational current, coil voltage and auxiliary contacts | Each
Thermal overload relay | Setting range in A; matched to contactor | Each
Timer relay | Function (on-delay, star-delta), range and supply voltage | Each
Phase failure relay | Phase loss, sequence and asymmetry protection | Each
Surge protective device | Type (1, 2, 3), discharge current and protection level stated | Each
Terminal block, DIN rail | Cross-section range and connection type stated | Each
Terminal partition and end plate | Matched to terminal block series | Each
DIN rail | 35 mm profile; length and material stated | Each
Wiring duct, panel | Width × height in mm and slot pitch stated | Each
Spiral cable wrap | Bundle diameter range stated | Each
Cable lug, crimp | Conductor cross-section and stud hole size stated | Each
Wire end ferrule | Cross-section and length stated; insulated option | Pack
Cable tie | Length, width and tensile strength stated | Pack
Insulating tape | Width, length and temperature rating stated | Each
Junction box | IP rating, dimensions and entry count stated | Each
Enclosure, sheet steel | Dimensions, IP rating and mounting plate stated | Each
Socket outlet, earthed, surface mounted | IP rating and gang count stated | Each
Two-way switch | Rated current and mounting type stated | Each
Industrial plug and socket set | Pole count, rated current and IP rating stated | Set
Extension cable reel | Cable length, cross-section, socket count and thermal cut-out | Each
LED panel luminaire | Size, luminous flux, efficacy and colour temperature stated | Each
LED linear luminaire | Length, luminous flux and mounting type stated | Each
LED weatherproof luminaire | IP rating, length and luminous flux stated | Each
LED high bay luminaire | Luminous flux, beam angle and mounting height stated | Each
LED floodlight | Luminous flux, beam angle and IP rating stated | Each
LED lamp, E27 | Luminous flux, colour temperature and dimmable option | Each
Emergency lighting luminaire | Duration, maintained or non-maintained, self-test option | Each
Emergency exit sign luminaire | Viewing distance, duration and pictogram stated | Each
PIR occupancy switch | Detection angle, range and time delay stated | Each
Electronic meter or power analyser | Measured parameters and communication protocol stated | Each
Current transformer | Ratio, class and burden stated | Each
Power factor correction capacitor, low voltage | Three-phase, self-healing, with discharge resistors, EN 60831-1; rated output (kvar) and rated voltage stated together on each line | Each
Capacitor switching contactor | With pre-charge (damping) resistors, utilisation category AC-6b, EN 60947-4-1; capacitor output (kvar) stated | Each
Power factor controller | Number of steps stated; displays inductive and capacitive ratio separately, adjustable switching delays | Each
Shunt reactor, low voltage | Three-phase, to offset capacitive reactive power, EN 60076-6; rated output (kvar) stated | Each
Detuning reactor for capacitor steps | Three-phase, EN 60076-6; detuning factor (e.g. 5.67%, 7% or 14%) and matching capacitor output and rated voltage stated | Each
Panel indicator lamp | Diameter, voltage and colour stated | Each
Emergency stop button | Mushroom head, latching, contact configuration stated | Each