## Unit Price Schedule
UNIT PRICE SCHEDULE — CCTV AND ALARM EQUIPMENT
Fill in the yellow cells. The Amount column calculates itself. Unit prices are entered EXCLUDING VAT or sales tax; the rate is shown on a separate line below. State the currency and the delivery term (Incoterms) above.
Buyer / company
Subject | Purchase of CCTV and Alarm Equipment
Currency
Delivery term (Incoterms 2020)
Quotation date
Quotation valid for (days)
No | Item | Technical properties | Unit | Quantity | Unit price (excl. tax) | Amount
1 | IP dome camera | Resolution, lens focal length, IR range and IP/IK rating stated, ONVIF Profile T conformant | Each
2 | IP bullet camera | Resolution, lens focal length, IR range and IP rating stated, ONVIF Profile T conformant | Each
3 | PTZ camera | Optical zoom, pan and tilt range, preset count stated, ONVIF Profile T conformant | Each
4 | Fisheye camera | Resolution, field of view and dewarping support stated, ONVIF Profile T conformant | Each
5 | Thermal camera | Sensor resolution, lens and detection range stated, ONVIF Profile T conformant | Each
6 | Low light camera | Minimum illumination in lux and colour retention stated, ONVIF Profile T conformant | Each
7 | Network video recorder | Channel count, throughput, disk bays and PoE ports stated, ONVIF Profile T client conformance | Each
8 | Surveillance grade hard disk | Capacity, workload rating and continuous duty stated | Each
9 | PoE switch | Port count, PoE standard (802.3af/at/bt) and total power budget | Each
10 | PoE injector | PoE standard and output power stated | Each
11 | Uninterruptible power supply | VA and W rating, topology and runtime stated | Each
12 | CAT6 cable | Solid or stranded, shielding, sheath rating and drum length | Box
13 | RJ45 connector and keystone jack | Category, shielding and termination method stated | Each
14 | Camera bracket and housing | Load capacity, IP rating and cable management stated | Each
15 | Camera pole | Height, wall thickness, base plate and coating stated | Each
16 | Junction box and trunking | IP rating, dimensions and material stated | Each
17 | Alarm control panel | Zone count, expansion capability and grade stated | Each
18 | Alarm keypad | Display type, wired or wireless and user code capacity | Each
19 | Communication module, GSM or IP | Transmission path, dual path option and reporting protocol | Each
20 | PIR motion detector | Coverage in m, pet immunity and mounting height stated | Each
21 | Curtain and outdoor detector | Coverage pattern, IP rating and anti-masking stated | Each
22 | Magnetic door or window contact | Gap distance, surface or flush mount stated | Each
23 | Glass break and shock detector | Coverage radius and sensitivity adjustment stated | Each
24 | Smoke and gas detector, alarm connected | Detection principle and interconnection method stated | Each
25 | Indoor and outdoor sounder | Sound level in dB, strobe option and tamper protection | Each
26 | Access control card reader | Credential technology, read range and IP rating stated | Each
27 | Electric lock, magnet or strike | Holding force, fail-safe or fail-secure and voltage stated | Each
28 | Access control panel and credentials | Door count, user capacity and credential type stated | Each
29 | Turnstile and barrier | Passage width, throughput and fail-safe operation stated | Each
30 | CCTV and alarm maintenance kit | Lens cleaning, connectors, spare fixings; contents listed | Set
SUBTOTAL (excl. tax)
VAT / sales tax rate (%)
Tax amount
TOTAL (incl. tax)
Bidding company
Authorised name / title
Stamp / signature
Template: AKSCO Ticaret ve Tedarik · https://aksco.com.tr · 0534 335 69 22 · Version 2026-09-25 · Free, no sign-up required

## Item Pool
CCTV AND ALARM EQUIPMENT — ITEM POOL
Brand-free technical property text you can copy into your own specification. Change the values and tolerances to suit your requirement.
Item | Technical properties | Unit
IP dome camera | Resolution, lens focal length, IR range and IP/IK rating stated, ONVIF Profile T conformant | Each
IP bullet camera | Resolution, lens focal length, IR range and IP rating stated, ONVIF Profile T conformant | Each
PTZ camera | Optical zoom, pan and tilt range, preset count stated, ONVIF Profile T conformant | Each
Fisheye camera | Resolution, field of view and dewarping support stated, ONVIF Profile T conformant | Each
Thermal camera | Sensor resolution, lens and detection range stated, ONVIF Profile T conformant | Each
Low light camera | Minimum illumination in lux and colour retention stated, ONVIF Profile T conformant | Each
Network video recorder | Channel count, throughput, disk bays and PoE ports stated, ONVIF Profile T client conformance | Each
Surveillance grade hard disk | Capacity, workload rating and continuous duty stated | Each
PoE switch | Port count, PoE standard (802.3af/at/bt) and total power budget | Each
PoE injector | PoE standard and output power stated | Each
Uninterruptible power supply | VA and W rating, topology and runtime stated | Each
CAT6 cable | Solid or stranded, shielding, sheath rating and drum length | Box
RJ45 connector and keystone jack | Category, shielding and termination method stated | Each
Camera bracket and housing | Load capacity, IP rating and cable management stated | Each
Camera pole | Height, wall thickness, base plate and coating stated | Each
Junction box and trunking | IP rating, dimensions and material stated | Each
Alarm control panel | Zone count, expansion capability and grade stated | Each
Alarm keypad | Display type, wired or wireless and user code capacity | Each
Communication module, GSM or IP | Transmission path, dual path option and reporting protocol | Each
PIR motion detector | Coverage in m, pet immunity and mounting height stated | Each
Curtain and outdoor detector | Coverage pattern, IP rating and anti-masking stated | Each
Magnetic door or window contact | Gap distance, surface or flush mount stated | Each
Glass break and shock detector | Coverage radius and sensitivity adjustment stated | Each
Smoke and gas detector, alarm connected | Detection principle and interconnection method stated | Each
Indoor and outdoor sounder | Sound level in dB, strobe option and tamper protection | Each
Access control card reader | Credential technology, read range and IP rating stated | Each
Electric lock, magnet or strike | Holding force, fail-safe or fail-secure and voltage stated | Each
Access control panel and credentials | Door count, user capacity and credential type stated | Each
Turnstile and barrier | Passage width, throughput and fail-safe operation stated | Each
CCTV and alarm maintenance kit | Lens cleaning, connectors, spare fixings; contents listed | Set