## Unit Price Schedule
UNIT PRICE SCHEDULE — VENTILATION, AIR CONDITIONING AND FILTERS
Fill in the yellow cells. The Amount column calculates itself. Unit prices are entered EXCLUDING VAT or sales tax; the rate is shown on a separate line below. State the currency and the delivery term (Incoterms) above.
Buyer / company
Subject | Purchase of Ventilation, Air Conditioning and Filters
Currency
Delivery term (Incoterms 2020)
Quotation date
Quotation valid for (days)
No | Item | Technical properties | Unit | Quantity | Unit price (excl. tax) | Amount
1 | Panel filter | ISO 16890 class, frame size and initial pressure drop stated | Each
2 | Bag filter | ISO 16890 class, pocket count, depth and frame size stated | Each
3 | Compact pleated filter | ISO 16890 class, depth and frame size stated | Each
4 | HEPA filter | EN 1822 class, frame size and gasket position stated | Each
5 | Activated carbon filter | Carbon weight, frame size and target contaminant stated | Each
6 | Washable metal filter | Frame size, mesh layers and thickness stated | Each
7 | Filter media roll | Class, width, length and thickness stated | m
8 | Filter frame and holding rail | Frame size and filter depth compatibility stated | Each
9 | Differential pressure gauge | Range in Pa, connection and mounting stated | Each
10 | Spiral duct | Diameter, gauge and length stated | Each
11 | Flexible duct | Diameter, insulation thickness and length stated | Box
12 | Duct fitting | Type (bend, tee, reducer), diameter and gauge stated | Each
13 | Duct tape and gasket | Width, temperature range and adhesion stated | Roll
14 | Grille, supply or extract | Face size, blade type and damper option stated | Each
15 | Diffuser | Face size, throw pattern and plenum connection stated | Each
16 | Weather louvre | Face size, free area and bird mesh stated | Each
17 | In-line duct fan | Airflow, static pressure, diameter and speed control stated | Each
18 | Roof extract fan | Airflow, static pressure and discharge direction stated | Each
19 | Axial wall fan | Airflow, diameter, IP rating and shutter option stated | Each
20 | Centrifugal fan | Airflow, static pressure, drive type and rotation stated | Each
21 | Air handling unit belt | Profile and datum length stated | Each
22 | Fan and motor bearing | Bore, outside diameter, width and seal type stated | Each
23 | Damper and actuator | Damper size, blade type, actuator torque and control signal | Each
24 | Split air conditioner, wall mounted | Cooling and heating capacity, energy class and inverter type | Set
25 | Cassette air conditioner | Capacity, panel size and drain pump option stated | Set
26 | VRF indoor, outdoor unit and branch kit | Capacities, pipe sizes and control interface stated | Set
27 | Air curtain | Door width, airflow, heating option and mounting height | Each
28 | Dehumidifier | Extraction rate, tank capacity and drain option stated | Each
29 | Copper pipe and insulation | Diameter, wall thickness and insulation thickness stated | m
30 | AC mounting bracket and anti-vibration pad | Load capacity and coating stated | Set
SUBTOTAL (excl. tax)
VAT / sales tax rate (%)
Tax amount
TOTAL (incl. tax)
Bidding company
Authorised name / title
Stamp / signature
Template: AKSCO Ticaret ve Tedarik · https://aksco.com.tr · 0534 335 69 22 · Version 2026-09-25 · Free, no sign-up required

## Item Pool
VENTILATION, AIR CONDITIONING AND FILTERS — ITEM POOL
Brand-free technical property text you can copy into your own specification. Change the values and tolerances to suit your requirement.
Item | Technical properties | Unit
Panel filter | ISO 16890 class, frame size and initial pressure drop stated | Each
Bag filter | ISO 16890 class, pocket count, depth and frame size stated | Each
Compact pleated filter | ISO 16890 class, depth and frame size stated | Each
HEPA filter | EN 1822 class, frame size and gasket position stated | Each
Activated carbon filter | Carbon weight, frame size and target contaminant stated | Each
Washable metal filter | Frame size, mesh layers and thickness stated | Each
Filter media roll | Class, width, length and thickness stated | m
Filter frame and holding rail | Frame size and filter depth compatibility stated | Each
Differential pressure gauge | Range in Pa, connection and mounting stated | Each
Spiral duct | Diameter, gauge and length stated | Each
Flexible duct | Diameter, insulation thickness and length stated | Box
Duct fitting | Type (bend, tee, reducer), diameter and gauge stated | Each
Duct tape and gasket | Width, temperature range and adhesion stated | Roll
Grille, supply or extract | Face size, blade type and damper option stated | Each
Diffuser | Face size, throw pattern and plenum connection stated | Each
Weather louvre | Face size, free area and bird mesh stated | Each
In-line duct fan | Airflow, static pressure, diameter and speed control stated | Each
Roof extract fan | Airflow, static pressure and discharge direction stated | Each
Axial wall fan | Airflow, diameter, IP rating and shutter option stated | Each
Centrifugal fan | Airflow, static pressure, drive type and rotation stated | Each
Air handling unit belt | Profile and datum length stated | Each
Fan and motor bearing | Bore, outside diameter, width and seal type stated | Each
Damper and actuator | Damper size, blade type, actuator torque and control signal | Each
Split air conditioner, wall mounted | Cooling and heating capacity, energy class and inverter type | Set
Cassette air conditioner | Capacity, panel size and drain pump option stated | Set
VRF indoor, outdoor unit and branch kit | Capacities, pipe sizes and control interface stated | Set
Air curtain | Door width, airflow, heating option and mounting height | Each
Dehumidifier | Extraction rate, tank capacity and drain option stated | Each
Copper pipe and insulation | Diameter, wall thickness and insulation thickness stated | m
AC mounting bracket and anti-vibration pad | Load capacity and coating stated | Set