TECHNICAL SPECIFICATION

CARPET, FLOORING AND ACOUSTIC MATERIALS

| Buyer / organisation | … |
| --- | --- |
| Subject | Purchase of Carpet, Flooring and Acoustic Materials |
| Specification date | … |
| Document no | … |

1. Scope

This technical specification sets out the technical criteria for the purchase of the carpet, flooring and acoustic materials listed in the table below, with their description, technical properties, unit and quantity.

2. Conformity

Products offered shall conform to the national and/or international standards cited in the table. Where the destination market requires a conformity marking (for example CE marking in the European Union and in Türkiye), that marking and the corresponding declaration of conformity shall be provided. Products subject to national registration — biocidal products and certain chemicals are the usual cases — shall carry the registration required in the country of use; the buyer states which country that is.

3. Brands and models

Technical properties are defined by measurable criteria and do not direct the tender towards any particular brand or model. No brand, model, patent, origin or source is named for any line in the table. Naming a brand locks a quotation to a single source and ends the comparison; in public procurement it is restricted or prohibited in many jurisdictions, Türkiye among them. Where a technical property genuinely cannot be expressed in measurable terms, a reference model may be named only together with the words “or equivalent”, and the criteria by which equivalence will be judged shall be written out. “Or equivalent” on its own defines nothing.

4. Packaging and labelling

Products shall be delivered in their original packaging, unopened and undamaged. The packaging shall legibly show the product name, the manufacturer or importer, the batch or serial number, the date of manufacture and, where applicable, the expiry date. Where instructions for use are required, they shall be supplied in the language the buyer specifies.

5. Shelf life

For products carrying an expiry date, at least 75% of the total shelf life shall remain at the date of delivery. Products not meeting this condition will not be accepted. The buyer may set a different percentage; the figure is what makes the clause enforceable.

6. Safety data sheet

For chemical products, a current safety data sheet shall be supplied with the delivery, in the language and format required in the country of use.

7. Samples

The buyer may request free samples of any line during evaluation. Samples shall be delivered with the quotation or within the period the buyer sets. A line for which a sample was requested and not supplied may be excluded from evaluation.

8. Place and time of delivery

Delivery shall be made to the address or addresses notified by the buyer. Carriage and unloading are the supplier's responsibility unless the agreed delivery term states otherwise. For cross-border orders the delivery term shall be stated as an Incoterms 2020 rule (for example EXW, FCA, CPT or DAP); the rule decides who arranges and pays for carriage and where the supplier's responsibility ends. The delivery period is at most … calendar days from order confirmation. Where there is more than one delivery point, the quantity for each point shall be stated separately.

9. Partial delivery

No partial delivery shall be made without the buyer's approval. Where partial delivery is approved, a separate delivery note shall be issued for each consignment.

10. Inspection and acceptance

Delivered products shall be examined against the criteria in this specification. Lines found not to conform shall be recorded and replaced by the supplier, at the supplier's cost, within at most … calendar days. The inspection criteria are the same figures written in the item table — nothing is checked that was not specified.

11. Warranty

Items in the nature of equipment, tools and appliances shall be warranted against manufacturing defects for at least 2 (two) years from the date of delivery. For warranted faults the replacement or repair period shall be at most … working days. Statutory warranty and conformity periods in the country of use apply in addition and are not reduced by this clause.

12. Liability

The supplier is responsible for damage, loss and delay arising in transport up to the point defined by the agreed delivery term. Losses arising from incorrect, incomplete or non-conforming delivery are for the supplier's account.

13. Price and invoicing

Unit prices shall be quoted exclusive of VAT or sales tax; the applicable rate shall be shown on a separate line. The currency shall be stated on the quotation. The quotation shall remain valid for at least … days; where costs are denominated in a foreign currency, the basis of any exchange-rate adjustment shall be written out. Invoicing shall follow delivery as a single invoice unless agreed otherwise.

14. Item list and technical properties

The table below contains 24 items. Delete the rows your organisation does not need, add the rows it does, and complete the “Quantity” column.

| No | Item | Technical properties | Unit | Quantity |
| --- | --- | --- | --- | --- |
| 1 | Carpet tile | 500 × 500 mm; ISO 10874 use class, pile weight and backing stated | m² |  |
| 2 | Broadloom carpet | 4 m width; ISO 10874 use class and pile weight stated | m² |  |
| 3 | LVT vinyl tile | Thickness, wear layer in microns and use class stated | m² |  |
| 4 | Homogeneous vinyl sheet | Thickness, use class and welding rod priced separately | m² |  |
| 5 | Laminate flooring | Thickness, use class, locking system and underlay separate | m² |  |
| 6 | Epoxy floor coating | Coats, dry film thickness and application temperature range | m² |  |
| 7 | Floor primer and screed repair mortar | Absorbency, layer thickness and cure time stated | kg |  |
| 8 | Flooring adhesive | Type matched to covering; coverage in m²/kg stated | kg |  |
| 9 | Skirting and edge profile | Height, material and fixing method stated; priced per metre | m |  |
| 10 | Transition and level change profile | Width, height difference and finish stated | m |  |
| 11 | Stair nosing, anti-slip | Width, insert type and fixing method stated | m |  |
| 12 | Raised access floor panel | Panel size, load class, finish and pedestal height stated | m² |  |
| 13 | Entrance matting system | Zone type, recessed or surface, dimensions and drainage | m² |  |
| 14 | Anti-slip tape | Width, grit grade, colour and roll length stated | Roll |  |
| 15 | Acoustic wall panel | Panel size, thickness, fabric finish and fire reaction class | m² |  |
| 16 | Acoustic ceiling tile | Tile size, thickness, edge detail and fire reaction class | m² |  |
| 17 | Acoustic baffle and ceiling raft | Dimensions, suspension kit and fire reaction class stated | Each |  |
| 18 | Acoustic desk and floor screen | Dimensions, core material and mounting method stated | Each |  |
| 19 | Impact sound insulation underlay | Thickness and impact sound reduction data required | m² |  |
| 20 | Suspended ceiling grid | Grid module, profile type and hanger spacing stated | m² |  |
| 21 | Carpet cleaning and maintenance chemicals | For extraction or encapsulation; dilution ratio stated | Drum |  |
| 22 | Floor polish and sealer | Coats, coverage and slip resistance information stated | Drum |  |
| 23 | Flooring installation and removal service | Scope: lift, level, prime, lay, skirting and waste removal | Service |  |
| 24 | Floor survey and measurement | Area take-off, moisture check and levelness assessment | Service |  |

15. Approval

This technical specification consists of … pages and … clauses and has been prepared and signed by those named below.

| Prepared by | Checked by | Approved by |
| --- | --- | --- |
| Name: … | Name: … | Name: … |
| Title: … | Title: … | Title: … |
| Signature: | Signature: | Signature: |

This template is a general-purpose example and should be adapted to your organisation's requirements and to the rules that apply where you are buying. Fields left as an ellipsis (…) are completed by the buyer. The governing principle behind it is that technical criteria should secure efficiency and fitness for purpose, should not restrict competition, and should give every bidder an equal opportunity — a requirement written into public procurement law in many countries. Check the legislation in force where you are.

Template: AKSCO Ticaret ve Tedarik · https://aksco.com.tr · 0534 335 69 22 · Version 2026-09-25 · Free, no sign-up required